SIR No. 05

SITE INSPECTION REPORT

| Project ID: | 25CSU01 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project Title: | Completion of Gent's Dormitory Phase II |  |  | Date: | April 29, 2026 |
| Contractor/Builder: | BN Builders & Construction Supplies |  |  | Time: | 9:10 AM |
| Type of Inspection: | - Weekly | - Monthly | - Punchlist | - Special - specify: Alignment Survey |  |

TO:		ENGR. MARIEL M. DELO

Director, General Services Office (GSO)

SUBJECT:	SITE INSPECTION NO. 02

| SITE INSPECTION DETAILS |  |  |  |
| --- | --- | --- | --- |
| Work Description | Detailed Findings | Recommendations | Remarks |
| Checking the alignment of concrete pedestals for Messhall. | The contractor has failed to provide the necessary surveying services required to validate the mess hall pedestal alignment . | The contractor should consider hiring an independent, certified surveyor to perform the verification. The cost of this service should be back-charged to the contractor . | The absence of a qualified surveyor poses a high risk of structural misalignment. Without verified gridlines and elevations, subsequent steel erection may encounter fit-up issues, leading to costly rework and project delays. |
| Overall Findings: | During the site inspection of the Mess Hall area, it was determined that the contractor is currently operating without the necessary surveying personnel to validate foundation alignment. While physical work on the pedestals has commenced, the lack of technical verification represents a significant Quality Assurance gap. Without survey controls, there is no objective evidence that the pedestals conform to the approved design coordinates and elevations. |  |  |

The undersigned members of the Inspectorate Team conducted a joint inspection of the above stated project and noted the following defects/ deficiencies which must be repaired/corrected by the contractor/ builder in order to comply with the approved Plans and Specifications of the Contract.

Inspectorate Team Members:

NAME & SIGNATURE				NAME & SIGNATURE

Position/Designation					Position/Designation

Reviewed by:						Noted by:

NAME & SIGNATURE				NAME & SIGNATURE

Head, Project Implementation Unit of ECO		Director, Engineering & Construction Office

_______________________________________________________________________________________

I hereby acknowledge the receipt of this Site Inspection Report.

NAME & SIGNATURE

Site Engineer, Project Implementation Unit of ECO

Date: ___________________

ACTUAL PHOTOS

Inspectorate Team Members:

NAME & SIGNATURE				NAME & SIGNATURE

Position/Designation					Position/Designation

Reviewed by:						Noted by:

NAME & SIGNATURE				NAME & SIGNATURE

Head, Project Implementation Unit of ECO		Director, Engineering & Construction Office